Building Information Management Implementation (Updated to align with AS ISO 19650:1 and 2)

Background

The former Building Management section in the Department of Planning, Transport and Infrastructure (DPTI) released an implementation policy statement to the construction industry in July 2012 outlining DPTI proposed Building Information Modelling (BIM) policy direction and implementation plan.

This implementation policy statement reflected a category-by-category approach method rather than a mandatory requirement to allow for BIM 3D Modelling to be implemented to meet project-specific BIM requirements.

Building Projects (BP) as a division of the Department of Infrastructure and Transport (DIT) current position is to support the construction industry transition to a greater use of Digital Engineering and Building Information Management (BIM) by supporting the adoption of the Australian Standard AS ISO19650: 1 and 2 international standard for managing information over the whole life cycle of a built asset using building information modelling.

- BIM Applications

BP will review each project using a BIM requirements criteria matrix and assess the opportunities and value of using both Core (3D BIM Modelling) and Project Specific (Building Information Management Applications in consultation with client agencies.

Based on this value-based criteria assessment, BP will assess the suitable BIM applications uses to meet the project specific requirements of the project.

Building projects as part of Infrastructure Delivery will set clear project specific BIM information requirements for each project based on the specific government agencies asset information requirements.

- Exchange Information Requirements (EIR)

In accordance with AS ISO 19650:2 an Exchange Information Requirements (EIR) will be prepared for each project based on the NATSPEC EIR Template with additional DIT BIM requirements for the project.

The DIT EIR will be based on amended NATSPEC template setting out the information needed to define information and other client information requirements for a project delivered using BIM.

It includes guidance and pre-qualification documentation for consultants and contractors. The EIR will form part of the appointment and tender documents on a BIM Project.

The EIR define which models need to be produced at each project stage – together with the required level of detail and definition. These models are key deliverables in the ‘data drops’ – contributing to effective decision making at key stages of the project.

The content of the EIR covers three areas:

- Project	 Detail	– details the BIM project goals, objectives and BIM applications.

- Commercial 	– details of BIM deliverables, and information purposes.

- Management 	– details the BIM management processes to be adopted.

- Technical 	– details of software platforms, definitions of levels of detail, etc.

The EIR will include both the Project Information Requirements (PIR) and Asset Information Requirements (AIR) for the project and include Core BIM (3D Modelling) and Project Specific Building Information Management requirements.

- Core 3D BIM Modelling Requirements

Core BIM 3D modelling requirements included in the DIT Building Projects- BIM Requirements represent current ‘best practice’ standard in 3D modelling of architectural, structural and building services with utilisation of clash detection of major building elements and other specific modelling uses including energy modelling for the Building Code of Australia (BCA) Section J and represents the baseline core 3D BIM requirements on all BIM projects.

- Project Specific  BIM Information Management and 3D Modelling Requirements.

Includes additional project specific information management  requirements and 3D Modelling requirements, specifically related to the project. These are likely to include more detailed 3D modelling of specialist areas and elements, advanced energy modelling, seismic modelling requirements  and BIM information and schedules to meet DIT project completion requirements. This will provide an ‘as constructed’ Project Information Model (PIM) as the bases for an ongoing Asset information Model (AIM) for Facilities Management (FM) maintenance and strategic asset management purposes.

- BIM Tier Level Capabilities

DIT Building Projects note that not all Delivery Teams are at the same level of BIM capability or maturity to meet the Building Information Management EIR requirements for AS ISO 19650 1and 2 compliances.

Therefore, for DIT Building Projects Capital Works projects the following BIM Capability Tier Levels have been identified as follows.

- BIM Tier 1 - Project value up to $5 million (Small scale simple-conventional buildings where the value of BIM is clearly demonstrable.

- BIM Tier 2 - Project value between $5 million to $15 million (Medium - medium scale / complexity buildings)

- BIM Tier 3 - Project value between $15 million to $250 million (large scale, complex buildings)

- BIM Tier 4 - Project value in excess of $250 million (large scale, very complex buildings requiring specialist BIM applications)

For each BIM Tier, the Lead Professional Service Contractors (LPSC) and Discipline Professional Service Contractors (DPSC) will be required to meet the following BIM Capabilities requirements summaries in the following Table.

Summary of DIT Prequalification Level and Associated BIM Tier Capability Levels

| LPSC/ DPSC | Description | Project Value | DIT BIM Tier Level | ACIF BIM Capability Level | Description (based on ACIF BIM Knowledge and Skills Framework) |
| --- | --- | --- | --- | --- | --- |
| PSC Level 1 | Simple - conventional buildings, small scale | Up to the $5 Million | 1 | 1 to 2 | Practical application with a basic level of competency and general knowledge of BIM, AS ISO 19650 and its fundamental meaning in a technical sense. |
| PSC Level 2 | Medium - medium scale / complexity buildings | Up to $15 Million | 2 | 3 | Practical knowledge and application proficient in knowledge of BIM, AS ISO 19650 what it requires from organisations and project teams with a demonstrated proficiency and application of Building Execution Plans (BEP), Common Data Environment (CDE) and delivery of Federated 3D Modelling applications. |
| PSC Level 3 | Complex - large scale, complex buildings | Up to $250 Million | 3 | 4 | Detailed knowledge /theory and application proficient in knowledge of BIM, AS ISO 19650 what it requires from multiple organisations and project teams with a demonstrated high proficiency and application of Building Execution Plans (BEP), Common Data Environment (CDE) and delivery of Federated 3D Modelling applications |
|  | Complex - large scale, complex buildings | Excess of $250 Million | 4 | 5 | Specialist /Authority level knowledge/theory and applications proficiency with a demonstrated expert understanding of BIM, AS ISO19650 proficiency and use of BIM application in large scale very complex projects with multiple BIM teams, complex BEP, Common Data Environments and multiple complex Federated 3D Modelling and data information requirements. |

Note: Capability levels and descriptions based on the Strategic Forum for the Australasian Building and Construction Industry (ACIF) BIM Knowledge and Skills Framework (Introduction and BIM Knowledge and Skills Framework excel spreadsheet Descriptor.

Refer to DIT Prequalification Guidenote Appendix B DIT BIM Tier Capability Levels for further details of the required BIM capabilities and requirements for each BIM Tier Level to be assessed as part of the DIT Prequalification application submission.

- Updated BIM Implementation Process

The following flow chart illustrates DIT Building Projects updated BIM implementation process in alignment with AS ISO 19650:1and 2.

BIM Implementation Process flow chart

BP to review and consult with the lead agency regarding BIM opportunities for the project against DIT BIM selection criteria matrix

New Project

BP assesses applicable BIM applications and requirements to be included in the DIT Exchange Information Requirements (EIR)

DIT EIR BIM document

Medium scale /complexity

$5M -$15M BIM- Tier 2

DIT Core BIM (3D Modelling)

Small scale/ simple projects < $5 M BIM -Tier 1

DIT EIR BIM document

Large scale/ very complex

$15M -$250M BIM -Tier 3

>$250M BIM -Tier 4

DIT Core BIM (3D Modelling Requirements) issued

DIT  Exchange Information Requirements issued

DIT Exchange Information Requirements issued

Including Project Specific BIM requirements

Included in Tender Documents

Building Execution Plan (DBEP) to be submitted by  the LPSC

- Summary

Building Projects (BP) is keen to increase the participation of Building Information Management in accordance with the principles and concepts outlined in AS ISO 19560: 1 and 2 for DIT Building Projects Capital Works projects.

The DIT Building Projects EIR will include the previous Project Specific and Core BIM brief requirements for alignment with As Iso 19650.

The LPSC will be required to submit for approval a Delivery Building Execution Plan (DBEP) for the design and documentation phases of the project which will form the basis for the Construction Building Execution Plan (CBEP) to be submitted by the General Building Contractor for construction.

Building Projects will continue to investigate the future direction of BIM applications and innovations and gather evidence base data through case studies and pilot projects.

It will continue to consult with all relevant parties, such as DIT Infrastructure, other government agencies and trade and professional bodies.

The above update BIM implementation process to align with AS ISO19650:1 and 2 and will be reviewed and updated periodically to reflect the current progress in the adoption of BIM International standards and practice.

- Contact

For further information contact:

Ralph Hems

Senior Architect - DIT Principal BIM Advisor

Phone:	T 8 7133 2930  M 0413 307 943

Email:	 ralph.hems@sa.gov.au

Document Amendment Record

| REVISION | CHANGE DESCRIPTION | DATE | PREPARED | REVIEWED | APPROVED |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft for Review | 12/6/2024 | Ralph Hems |  |  |
| 2 | Updated | 25/11/2024 | Ralph Hems |  |  |

Document Status

| DOCUMENT OWNER |  |  |  |
| --- | --- | --- | --- |
| Action | Name and Position | Signature | Date |
| Prepared By: | Name: Ralph Hems Title: Senior Architect ODASA |  | ___/___/_ |
| Reviewed By: | Name: Title: |  | ___/___/___ |