The procedure to be followed shall be as described in the following manuals:

- Walking Profiler Instruction Manual February 1996, published by ARRB Group Ltd.

- User Manual Footworks Walking Profiler Data Processing Issue 2 July 2002, published by ARRB Group Ltd

- WP Laboratory Offset and Slope Calibration Issue 1 February 1997, published by ARRB Group Ltd .

Precision

The uncertainty of measurement has been determined as + x.x of the test result, at a confidence limit of 95% with a nominal coverage factor of 2, when calculated in accordance with the accreditation requirements as detailed in AS/ISO 17025.

Documents

Complete form TP350-1

Department of Planning, Transport & Infrastructure

19 Bridge Rd, Walkley Heights 5098, (08) 8260 0230, PO Box 1533 Adelaide SA 5001

Technical Services Group

Procedure

Walking Profilometer Work Sheet

KNET NO.#………………………………………….

| Road:………………………………………...………………………….……… |  | RN:……..………..…….. |
| --- | --- | --- |
| Section:……………………………………………………………………………………….……………….. |  |  |
| Tracs No:………………………………………. | Requested By:……………...……………………..….. |  |
|  | Walking Profilometer Run Number:……………….… |  |
| Testing Direction: Trans – Long…...……………………………………………………………………….. |  |  |
| Carriage Way: Northern / Southern / Eastern / Western……………………………………………… |  |  |
| Direction of Travel: North / South / East / West…………….……………………………….…………. |  |  |
| Lane: 1 / 2 / 3 / 4……………………………………………………………………………………………... |  |  |
| Code: Left / Right / Undivided………………………………………………………………………………. |  |  |
| Date:…………………………………………………………………………………………………………… |  |  |
| Crew:………………………………………….……………………………………………………………….. |  |  |
| Comments:………………………………………………………………………………………………….. |  |  |
| ……..……………………………………...……………………………………………………………………… |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| …………………….……………………………………………………………………………………………. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |
| ………………………………………………………………………………………………………………….. |  |  |

|  | Processed | Database | Checked | Uploaded | Knet | Sent |
| --- | --- | --- | --- | --- | --- | --- |
| Signed | ………………. | ………………. | ………… | ……… | ……… | ………… |
| Date | ………………. | ………………. | ………… | ……… | ……… | ………… |

Form TP350-1, Revn.2.9